{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":55,"n_cols":4,"rows_kept":55,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["采购内容"]
["序号","材料名称","规格型号","备注"]
[1,"电力电缆","YJV-5*10mm2"]
[2,"电力电缆","YJV-5*4.0mm2"]
[3,"电力电缆","YJV-4*95+1*50mm2"]
[4,"电力电缆","WDZN-YJY-5*4mm2"]
[5,"电力电缆","WDZN-YJY-5*6mm2"]
[6,"电力电缆","WDZN-YJY-3*25mm2"]
[7,"电力电缆","YJV-5*16mm2"]
[8,"电力电缆","WDZN-YJY-4*4mm2"]
[9,"电力电缆","WDZN-YJV22-4*120+1*70mm2"]
[10,"电力电缆","WDZN-YJV22-5*10mm2"]
[11,"电力电缆","YJV22-4*70+1*35mm2"]
[12,"电力电缆","WDZN-YJV22-4*25+1*16mm2"]
[13,"电力电缆","WDZN-YJV22-4*70+1*35mm2"]
[14,"电力电缆","WDZN-YJY-4*70+1*35mm2"]
[15,"电力电缆","WDZN-YJY-4*35+1*16mm2"]
[16,"电力电缆","WDZN-YJY-4*25mm2"]
[17,"电力电缆","YJV22-5*6mm2"]
[18,"电力电缆","YJV22-3*4mm2"]
[19,"电力电缆","WDZN-YJY-5*4.0mm2"]
[20,"电力电缆","WDZN-YJY-5*10mm2"]
[21,"电力电缆","WDZN-YJY22-4*25+1*16mm2"]
[22,"电力电缆","YJV22-4*50+1*25mm2"]
[23,"电力电缆","YJV22-4*185+1*95mm2"]
[24,"电力电缆","YJV22-4*240+1*120mm2"]
[25,"电力电缆","YJV22-4*95+1*50mm2"]
[26,"电力电缆","YJV22-4*10mm2"]
[27,"电力电缆","FS-WDZN-YJY-4*10mm2"]
[28,"电力电缆","WDZN-KVV22-3*2.5mm2"]
[29,"电力电缆","WDZN-YJY22-4*70+1*35mm2"]
[30,"电力电缆","L3-YJV22-3*4mm2"]
[31,"电力电缆","YJV22-3*4.0mm2"]
[32,"电力电缆","YJV22-4*6.0mm2"]
[33,"电力电缆","FS-YJV4*16mm2"]
[34,"护套通信电缆","HYV22-10*(2*0.5)"]
[35,"控制电缆","KVV-3*2.5mm2"]
[36,"控制电缆","WDZN-KYJY-4*2.5mm2"]
[37,"控制电缆","KVV22-3*2.5mm2"]
[38,"同轴电缆","SYWV-75-5"]
[39,"同轴电缆","SYWV-75-9"]
[40,"铜芯塑料绝缘电线","BV-10mm2"]
[41,"铜芯塑料绝缘软电线","BVR-4mm2"]
[42,"铜芯塑料绝缘电线","BV-2.5mm2"]
[43,"铜芯塑料绝缘电线","BV-4mm2"]
[44,"铜芯橡皮绝缘电线","BX-2.5mm2"]
[45,"铜芯塑料绝缘电线","BV-6mm2"]
[46,"铜芯塑料绝缘软电线","BVR-6mm2"]
[47,"阻燃铜芯塑料绝缘绞型电线","ZR-RVS2×1.5mm2"]
[48,"绝缘电线","ZR-BV-2.5mm2"]
[49,"绝缘电线","ZR-BV-4.0mm2"]
[50,"绝缘电线","BV-4.0mm2"]
[51,"绝缘电线","BV-2.5mm2"]
[52,"绝缘电线","WDZN-BYJ-2.5mm2"]
[53,"绝缘电线","WDZN-BYJ-4.0mm2"]