{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":12,"n_cols":4,"rows_kept":12,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["采购内容"]
["序号","材料名称","规格型号","备注"]
[1,"太阳能路灯","路灯杆6m;太阳能板2*120型;LED光源2*150w;三元锂电池2*80型;金太阳7代控制器2个;外铸铝壳喷涂;预埋件M24;太阳能板架配套"]
[2,"玫瑰花型太阳能路灯","路灯杆6m；太阳能电池板4*150型；灯具4*200w；三元锂电池4*120w；金太阳7代控制器2个；预埋件M24；玫瑰花装饰透光亚克力；太阳能板架配套"]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]